**IMPORTANT INFORMATION ABOUT YOUR DRINKING WATER**

**Monitoring Requirements Not Met for Town of Cokeville**

(Public Water System Name)

Our water system violated several drinking water regulations over the compliance period shown below. Even though these were not emergencies, as our customers, you have a right to know what happened and what we did to correct these situations.

We are required to monitor your drinking water for specific contaminants on a regular basis. Results of regular monitoring are indicators of whether or not your drinking water meets health standards. During **2019, 2020, and 2022**, we did not monitor for **Total trihalomethanes, haloacetic acids, lead & copper, synthetic organic contaminants, inorganic contaminants, and volatile organic contaminants**, and therefore cannot be sure of the quality of your drinking water during that time.

**What should I do?**

There is nothing you need to do at this time.

The table below lists the contaminant(s) we did not properly test for during the compliance period, how often we are supposed to sample and how many samples we are supposed to take, how many samples we took, when samples should have been taken, and the date on which follow-up samples were taken.

|  |  |  |  |  |
| --- | --- | --- | --- | --- |
| **Contaminant** | **Required sampling frequency** | **Number of samples taken** | **When samples should have been taken** | **When samples were taken** |
| Total Trihalomethanes & haloacetic acids | Once per year | 0 | August 2019 | August 2020  August 2021  August 2022  August 2023 |
| Lead & Copper | 3 times per year | 2 complete sets of samples | June 1 to Sept. 30, 2020, 9 of 10 samples were collected during this period | Jan 1 – Jun 30, 2020, Jul 1 – Dec 31, 2020 and all since |
| Synthetic Organic Contaminants | Once between 1/1/2020 – 12/31/22 | 0 | Once between 1/1/2020 – 12/31/22 | 4/16/23 |
| Inorganic Contaminants | Once between 1/1/2020 – 12/31/22 | 0 | Once between 1/1/2020 – 12/31/22 | 4/16/23 |
| Volatile Organic Chemicals | Once between 1/1/2020 – 12/31/22 | 0 | Once between 1/1/2020 – 12/31/22 | 4/16/23 |

**What happened? What is being done?**

Samples were not collected due to employee turnover and misunderstanding of the schedule. Sampling is up to date

and will remain on schedule.

For more information, please contact Mike Duran at (307) 279-3227 or at 110 Pine Street Cokeville, WY 83114.

\*Please share this information with all the other people who drink this water, especially those who may not have received

this notice directly. You can do this by posting this notice in a public place or distributing copies by hand or mail\*

This notice is being sent to you by the Town of Cokeville.

Public Water System ID#: WY5600015.

Date Distributed: January 10, 2024.