**Town of Cokeville CCR Report 2019**

**PWS#5600015**

**Is my water safe?**

We are pleased to present this year's Annual Water Quality Report (Consumer Confidence Report) as required by the Safe Drinking Water Act (SDWA). This report is designed to provide details about where your water comes from, what it contains, and how it compares to standards set by regulatory agencies. This report is a snapshot of last year's water quality. We are committed to providing you with information because informed customers are our best allies. We routinely conduct tests for over 80 contaminants. We found none at a level higher than the EPA allows. For more information see the section labeled Violations at the end of the report.

**Do I need to take special precautions?**

Some people may be more vulnerable to contaminants in drinking water than the general population. Immuno-compromised persons such as persons with cancer undergoing chemotherapy, persons who have undergone organ transplants, people with HIV/AIDS or other immune system disorders, some elderly, and infants can be particularly at risk from infections. These people should seek advice about drinking water from their health care providers. EPA/Centers for Disease Control (CDC) guidelines on appropriate means to lessen the risk of infection by Cryptosporidium and other microbial contaminants are available from the Safe Water Drinking Hotline at (800) 426-4791.

**Where does my water come from?**

Your ground water comes from two wells in the Thomas Fork Aquifer. For more information about our water please contact Town of Hall at (307) 279-3227.

**Source water assessment and its availability**

Source water assessment is available for your review at City Hall. For more information please contact Town hall at (307) 279-3227.

**Why are there contaminants in my drinking water?**

Drinking water, including bottled water, may reasonably be expected to contain at least small amounts of some contaminants. The presence of contaminants does not necessarily indicate that water poses a health risk. More information about contaminants and potential health effects can be obtained by calling the Environmental Protection Agency's (EPA) Safe Drinking Water Hotline (800-426-4791). The sources of drinking water (both tap water and bottled water) include rivers, lakes, streams, ponds, reservoirs, springs, and wells. As water travels over the surface of the land or through the ground, it dissolves naturally occurring minerals and, in some cases, radioactive material, and can pick up substances resulting from the presence of animals or from human activity: microbial contaminants, such as viruses and bacteria, that may come from sewage treatment plants, septic systems, agricultural livestock operations, and wildlife; inorganic contaminants, such as salts and metals, which can be naturally occurring or result from urban storm water runoff, industrial, or domestic wastewater discharges, oil and gas production, mining, or farming; pesticides and herbicides, which may come from a variety of sources such as agriculture, urban storm water runoff, and residential uses; organic Chemical Contaminants, including synthetic and volatile organic chemicals, which are by-products of industrial processes and petroleum production, and can also come from gas stations, urban storm water runoff, and septic systems; and radioactive contaminants, which can be naturally occurring or be the result of oil and gas production and mining activities. In order to ensure that tap water is safe to drink, EPA prescribes regulations that limit the amount of certain contaminants in water provided by public water systems. Food and Drug Administration (FDA) regulations establish limits for contaminants in bottled water which must provide the same protection for public health.

**How can I get involved?**

Cokeville’s Town Council meets every 2nd Tuesday of every Month at Town Hall 110 Pine Street at 7:00 pm. If you have any question or ideas that you would like to present to the Town Council please contact Jody to get on the agenda at (307) 279-3227.

**Description of Water Treatment Process**

Your water is treated by disinfection. Disinfection involves the addition of chlorine or other disinfectant to kill dangerous bacteria and microorganisms that may be in the water. Disinfection is considered to be one of the major public health advances of the 20th century.

**Water Conservation Tips**

Did you know that the average U.S. household uses approximately 400 gallons of water per day or 100 gallons per person per day? Luckily, there are many low-cost and no-cost ways to conserve water. Small changes can make a big difference - try one today and soon it will become second nature.

* Take short showers - a 5 minute shower uses 4 to 5 gallons of water compared to up to 50 gallons for a bath.
* Shut off water while brushing your teeth, washing your hair and shaving and save up to 500 gallons a month.
* Use a water-efficient showerhead. They're inexpensive, easy to install, and can save you up to 750 gallons a month.
* Run your clothes washer and dishwasher only when they are full. You can save up to 1,000 gallons a month.
* Water plants only when necessary.
* Fix leaky toilets and faucets. Faucet washers are inexpensive and take only a few minutes to replace. To check your toilet for a leak, place a few drops of food coloring in the tank and wait. If it seeps into the toilet bowl without flushing, you have a leak. Fixing it or replacing it with a new, more efficient model can save up to 1,000 gallons a month.
* Adjust sprinklers so only your lawn is watered. Apply water only as fast as the soil can absorb it and during the cooler parts of the day to reduce evaporation.
* Teach your kids about water conservation to ensure a future generation that uses water wisely. Make it a family effort to reduce next month's water bill!
* Visit [www.epa.gov/watersense](http://www.epa.gov/watersense) for more information.

**Cross Connection Control Survey**

The purpose of this survey is to determine whether a cross-connection may exist at your home or business. A cross connection is an unprotected or improper connection to a public water distribution system that may cause contamination or pollution to enter the system. We are responsible for enforcing cross-connection control regulations and insuring that no contaminants can, under any flow conditions, enter the distribution system. If you have any of the devices listed below please contact us so that we can discuss the issue, and if needed, survey your connection and assist you in isolating it if that is necessary.

* Boiler/ Radiant heater (water heaters not included)
* Underground lawn sprinkler system
* Pool or hot tub (whirlpool tubs not included)
* Additional source(s) of water on the property
* Decorative pond
* Watering trough

**Source Water Protection Tips**

Protection of drinking water is everyone's responsibility. You can help protect your community's drinking water source in several ways:

* Eliminate excess use of lawn and garden fertilizers and pesticides - they contain hazardous chemicals that can reach your drinking water source.
* Pick up after your pets.
* If you have your own septic system, properly maintain your system to reduce leaching to water sources or consider connecting to a public water system.
* Dispose of chemicals properly; take used motor oil to a recycling center.
* Volunteer in your community. Find a watershed or wellhead protection organization in your community and volunteer to help. If there are no active groups, consider starting one. Use EPA's Adopt Your Watershed to locate groups in your community, or visit the Watershed Information Network's How to Start a Watershed Team.
* Organize a storm drain stenciling project with your local government or water supplier. Stencil a message next to the street drain reminding people "Dump No Waste - Drains to River" or "Protect Your Water." Produce and distribute a flyer for households to remind residents that storm drains dump directly into your local water body.

**Significant Deficiencies**

The Town received a letter of violation for failing to inform the public of Significant deficiencies with Cokeville’s Water System. The deficiencies have been corrected to the satisfaction of EPA.

| **TT Violation** | **Explanation** | **Length** | **Health Effects Language** | **Explanation and Comment** |
| --- | --- | --- | --- | --- |
|  |  |  |  |  |
| Ground Water Rule Violations | Failure to take action on a Significant deficiency. | September 11, 2019 | Inadequately treated water may contain disease-causing organisms. These organisms include bacteria, viruses, and parasites, which can cause symptoms such as nausea, cramps, diarrhea, and associated headaches. | Failed to notify public of failure to correct significant deficiencies in a timely manner. Required corrections included improvements to water storage tanks, inspecting storage tanks, improvements to wellheads, air release-vacuum relief valve replacement, and leaks.The deficiencies were corrected and compliance was achieved on February 5, 2020. |

**Additional Information for Lead**

If present, elevated levels of lead can cause serious health problems, especially for pregnant women and young children. Lead in drinking water is primarily from materials and components associated with service lines and home plumbing. Town of Cokeville is responsible for providing high quality drinking water, but cannot control the variety of materials used in plumbing components. When your water has been sitting for several hours, you can minimize the potential for lead exposure by flushing your tap for 30 seconds to 2 minutes before using water for drinking or cooking. If you are concerned about lead in your water, you may wish to have your water tested. Information on lead in drinking water, testing methods, and steps you can take to minimize exposure is available from the Safe Drinking Water Hotline or at http://www.epa.gov/safewater/lead.

**Water Quality Data Table**

In order to ensure that tap water is safe to drink, EPA prescribes regulations which limit the amount of contaminants in water provided by public water systems. The table below lists all of the drinking water contaminants that we detected during the calendar year of this report. Although many more contaminants were tested, only those substances listed below were found in your water. All sources of drinking water contain some naturally occurring contaminants. At low levels, these substances are generally not harmful in our drinking water. Removing all contaminants would be extremely expensive, and in most cases, would not provide increased protection of public health. A few naturally occurring minerals may actually improve the taste of drinking water and have nutritional value at low levels. Unless otherwise noted, the data presented in this table is from testing done in the calendar year of the report. The EPA or the State requires us to monitor for certain contaminants less than once per year because the concentrations of these contaminants do not vary significantly from year to year, or the system is not considered vulnerable to this type of contamination. As such, some of our data, though representative, may be more than one year old. In this table you will find terms and abbreviations that might not be familiar to you. To help you better understand these terms, we have provided the definitions below the table.

| **Contaminants** | **MCLGorMRDLG** | **MCL,TT, orMRDL** | **Detect InYour Water** | **Range** | **SampleDate** | **Violation** |
| --- | --- | --- | --- | --- | --- | --- |
| **Low** | **High** |
| Total Coliform Bacteria | 0 | 0 | 0 | 0 | 0 | 2019 | No |

**Additional Contaminants**

In an effort to ensure the safest water possible the EPA or State has required us to monitor some contaminants not required by Federal regulations. Of those contaminants only the ones listed below were found in your water.

| **Contaminants** | **MCL** | **Your Water** | **Violation** | **Explanation and Comment** |
| --- | --- | --- | --- | --- |
| Lead | 0.015 ppm | 0.001 ppm | No | Erosion from natural deposits; Leaching fromwood preservatives; Corrosion of householdplumbing systems. |
| Copper | 1.3 ppm | .087 ppm | No | Corrosion of household plumbing systems;Erosion of natural deposits. |
| Arsenic | 10 ppb | 1 ppb | No | Erosion of natural deposits; Runoff from orchards; Runoff from glass andelectronics production wastes. |
| Fluoride | 4.0 ppm | 0.2 ppm | No | Erosion of natural deposits; Water additive which promotes strong teeth; Discharge from fertilizer and aluminum plants. |
| Nitrate (as N) | 10 ppm | 0.74 ppm | No | Runoff from fertilizer use; Leaching from septictanks, sewage; Erosion of natural deposits. |
| Selenium | 50 ppb | 1 ppb | No | Discharge from petroleum and metal refineries;Erosion of natural deposits; Discharge from mines. |
| Gross alpha, minusradon and uranium | 15 pcI/L | 1.3 pcI/L | No | Erosion of natural deposits. |
| Uranium | 30 ug/l | 0.6 ug/l | No | Erosion of natural deposits. |

| **Unit Descriptions** |
| --- |
| **Term** | **Definition** |
| NA | NA: not applicable |
| ND | ND: Not detected |
| NR | NR: Monitoring not required but recommended. |
| positive samples | positive samples/yr: The number of positive samples taken that year |

| **Important Drinking Water Definitions** |
| --- |
| **Term** | **Definition** |
| MCLG | MCLG: Maximum Contaminant Level Goal: The level of a contaminant in drinking water below which there is no known or expected risk to health. MCLGs allow for a margin of safety. |
| MCL | MCL: Maximum Contaminant Level: The highest level of a contaminant that is allowed in drinking water. MCLs are set as close to the MCLGs as feasible using the best available treatment technology. |
| TT | TT: Treatment Technique: A required process intended to reduce the level of a contaminant in drinking water. |
| AL | AL: Action Level: The concentration of a contaminant which, if exceeded, triggers treatment or other requirements which a water system must follow. |
| Variances and Exemptions | Variances and Exemptions: State or EPA permission not to meet an MCL or a treatment technique under certain conditions. |
| MRDLG | MRDLG: Maximum residual disinfection level goal. The level of a drinking water disinfectant below which there is no known or expected risk to health. MRDLGs do not reflect the benefits of the use of disinfectants to control microbial contaminants. |
| MRDL | MRDL: Maximum residual disinfectant level. The highest level of a disinfectant allowed in drinking water. There is convincing evidence that addition of a disinfectant is necessary for control of microbial contaminants. |
| MNR | MNR: Monitored Not Regulated |
| MPL | MPL: State Assigned Maximum Permissible Level |

**Violations**

|  |
| --- |
| **Consumer Confidence Rule** |
| The Consumer Confidence Rule requires community water systems to prepare and provide to their customers annual consumer confidence reports on the quality of the water delivered by their systems. |
| **Violation Type** | **Violation Begin** | **Violation End** | **Violation Explanation** |
| CCR Adequacy/Availability/Content | 10/10/2018 | 9/30/2019 | We failed to provide you, our drinking water customers, an annual report that adequately informed you about the quality of our drinking water and the risks from exposures to contaminants detected in our drinking water. |
| CCR Report | 7/1/2018 | 6/30/2019 | We failed to provide you, our drinking water customers, an annual report that adequately informed you about the quality of our drinking water and the risks from exposures to contaminants detected in our drinking water. |
| CCR Report | 7/1/2019 | 2019 | We failed to provide you, our drinking water customers, an annual report that adequately informed you about the quality of our drinking water and the risks from exposures to contaminants detected in our drinking water. |

|  |
| --- |
| **Ground Water Rule** |
| The Ground Water Rule specifies the appropriate use of disinfection while addressing other components of ground water systems to ensure public health protection. |
| **Violation Type** | **Violation Begin** | **Violation End** | **Violation Explanation** |
| Failure to Address Deficiency (GWR) | 9/11/2019 | 2/5/2020 | We failed to properly respond to a significant deficiency in our water system. |

|  |
| --- |
| **Haloacetic Acids (HAA5)** |
| Some people who drink water containing haloacetic acids in excess of the MCL over many years may have an increased risk of getting cancer. |
| **Violation Type** | **Violation Begin** | **Violation End** | **Violation Explanation** |
| Monitoring, Routine (DBP), Major | 9/1/2018 | 8/31/2019 | We failed to test our drinking water for the contaminant and period indicated. Because of this failure, we cannot be sure of the quality of our drinking water during the period indicated. |

|  |
| --- |
| **Lead and Copper Rule** |
| The Lead and Copper Rule protects public health by minimizing lead and copper levels in drinking water, primarily by reducing water corrosivity. Lead and copper enter drinking water mainly from corrosion of lead and copper containing materials. |
| **Violation Type** | **Violation Begin** | **Violation End** | **Violation Explanation** |
| Follow-up or Routine M/R (LCR) | 10/1/2019 | 2019 | We failed to test our drinking water for the contaminant and period indicated. Because of this failure, we cannot be sure of the quality of our drinking water during the period indicated. |

|  |
| --- |
| **Total Trihalomethanes (TTHM)** |
| Some people who drink water containing trihalomethanes in excess of the MCL over many years may experience problems with their liver, kidneys, or central nervous systems, and may have an increased risk of getting cancer. |
| **Violation Type** | **Violation Begin** | **Violation End** | **Violation Explanation** |
| Monitoring, Routine (DBP), Major | 9/1/2018 | 8/31/2019 | We failed to test our drinking water for the contaminant and period indicated. Because of this failure, we cannot be sure of the quality of our drinking water during the period indicated. |

| **For more information please contact:** |
| --- |

Contact Town Hall
Address: P.O. Box 99
Cokeville, Wy 83114
Phone: 307-279-3227